CT Testing – Theory and Practice: Instrument transformer accuracy is critical for reliable revenue metering. This course reviews the theory behind current transformer operation and focuses on practical field and shop testing procedures. 
Topics include:
• Ratio testing
• Burden testing
• Admittance testing
• Saturation effects
• Testing methods for installed transformers
Students will gain practical knowledge on identifying CT performance issues and ensuring transformer-rated metering installations meet accuracy requirements. Tesco


