Transformer Bank Wiring: In this course, fundamentals of AC electricity are reviews, transformer basics including polarity are introduced.  From this knowledge, single phase and three phase transformer back connections are taught and discussed for a variety of electrical services.    Last, the correct meter form for each service type is identified. Bryan Seal, Wasion